## Large Components
Part | Vendor | Model | Price
Laser Diode | Thorlabs | L405P20 | 58.21
Diode laser driver | Thorlabs | KLD101 | 973.85
Laser Diode Kit (includes controllers) | Thorlabs | LTC56A | 3132.86
Diode Mount and Temperature Controller | Thorlabs | LDM9T | 937.13
Power supply | Thorlabs | TPS002 | 128.29
Single photon detector | Thorlabs | SPDMA | 4915.89
CMOS camera | Thorlabs | CS165MU | 479.86
Spectrometer 350-1100 nm | Ocean Insights |  | 8000
APD 900-1700 nm | Thorlabs | APD130C | 2672.83
APD 900-1700 nm (fiber) | Thorlabs | APD431C | 2930.41
780 nm, 45 mW, Butterfly DBR Laser | Thorlabs | DBR780PN | 6231.6
LN cut crystal | Conex |  | 1400
PPLN | Covesion | MSHG1064-.5-10 | 3600
PPLN oven | Covesion |  | 3600
|  | TOTAL | 21298.92

## Various Components
System | Part | Vendor | Model | Price | QTY | Shipping | Tax | Total
Laser | 780 nm laser FC/APC connector | Eblana Photonics | EP780-2-DM-DX1-FM | 6210 | 1 | 100 | 10% | 6941 | 50x72.5 mm | 2x2.85 in
| Variable attenuator | Thorlabs | VOA780-APC | 435.97 | 3 |  | 10% | 1438.701
[7 empty] | 10% | 0
Polarization Control | Fiber-based Polarization controller | Thorlabs | CPC900 | 489.15 | 1 |  | 10% | 538.065
|  | Oz Optics | HFPC-11-1300/1550-S-9/125-3A3A |  |  |  | 10% | 0
[7 empty] | 10% | 0
Entangled photon generation | Spontaneous Parametric Down Conversion (SPDC) waveguide | Covesion | WGCO-1560 | 11354 | 1 |  | 10% | 12489.4
| Temperature controller | Covesion | OC3 | 1514 | 1 |  | 10% | 1665.4
[7 empty] | 10% | 0
[7 empty] | 10% | 0
Bandpass filter | Fiber-based bandpass filter | Agiltron | FOTF-035121331 | 902 | 1 |  | 10% | 992.2
| Wavelength Division Multiplexer C- and L- bands |  |  | 300 | 1 |  | 10% | 330
| Tunable Filters | Oz Optics |  | 300 | 2 |  | 10% | 660
[7 empty] | 10% | 0
Vapor Cell system | Optics heater and magnets | Thorlabs | SKDAV | 5795 | 1 |  | 10% | 6374.5
| Vapor cell | Thorlabs | GC25075-RB | 575 | 1 |  | 10% | 632.5
| Temperature controller | Thorlabs | TC300B | 1060 | 1 |  | 10% | 1166
| Breadboard (2x3’, Aluminum, non-magnetic) | Thorlabs | PBG2436F | 1161.91 | 1 |  | 10% | 1278.101
| Acetylene C2H2 reference cell pigtailed | Wavelength References | C2H2-12-H(3)-200-FCAPC | 510 | 1
Detection | InGaAs APD pigtailed | Excelitas | C30733BQC-01 |  | 2
| APD 900-1700 nm (fiber) | Thorlabs | APD431C | 2930.41 | 2 |  | 10% | 6446.902
| CMOS Camera | Thorlabs | CS165MU | 479.86 | 1 |  | 10% | 527.846
| Spectrometer (Optical Spectrum Analyzer) | BaySpec | OCPM-050-160-1400-FA | 6000 | 1 |  | 10% | 6600
| Power detector fiber mounted, 400 - 1100 nm, 1 nW - 20 mW | Thorlabs | S151C | 406.28 | 1 |  | 10% | 446.908
| Power detector free space, 400 - 1100 nm, 1 nW - 20 mW | Thorlabs | S120C | 381.34 | 1
| Power detector fiber mounted, 800-1700 nm, 1 nW - 20 mW | Thorlabs | S155C | 586.84 | 1 |  | 10% | 645.524
| Power Meter Interface with USB, RS232, UART, Analog Out | Thorlabs | PM101 | 568.63 | 2
| Power and Energy Meter | Thorlabs | PM100D | 1359.32
| Free-Space Balanced Photodetector, Si | Thorlabs | PDB210A | 1253.95 |  |  |  |  | BW 1 MHz
| 2 Ch meter | Thorlabs | PM5020 | 3781.7
| Time tagger | Swabian | TC20 | 12000 | 1 |  | 10% | 13200
| Time tagger | QuTools | quTag LC | 7100
| Time tagger | PicoQuant | Multiharp 150-4N | 11000
| Oscilloscope | PicoScope | 5444-D | 3355 |  |  |  |  | BW 200 MHz, 1 Gsa/s
Connection optics | Patch cables | Thorlabs | P1-780PM-FC-5 | 264 | 2 |  | 10% | 580.8
[7 empty] | 10% | 0
[7 empty] | TOTAL | 62953.847

## SKSAS
Thorlabs SKDAV Kit
Description | Part | Price | Notes | Needed Add-on | Part | Price
Fiber Input
fiber collimator | F220FC-780 | 193.67 | FC/PC connector | PM patch cable from laser | P1-780PM-FC-1 | 191.08
SM1-Threaded Adapter | AD11F | 36.22
Cage Plate | CP33 | 20.43
Cage Assembly Rod, 1.5" Long | ER2-P4 | 26.82
Cage Rotation Mount | CRM1T | 102.65 | CRM1T supersedes CRM1
Half wave plate | WPMH05M-780 | 305.05
Ø1 Pillar Post | RS075 | 23.89
Ø25.0 mm Post Spacer | RS5M | 9.6
| SUBTOTAL | 718.33 |  |  | SUBTOTAL | 191.08
Vapor Cell
Heater Assembly | GCH25-75 | 1079.15 | 2x heaters/sensors | Rubidium Borosilicate Reference Cell | GC25075-RB | 615.39
|  |  |  | Heater and TEC Temperature Controller | TC300B | 1134.51 | 2x channels
Ø1.25" Studded Pedestal Base Adapter | BE1 | 11.59
Ø1 Pillar Post | RS075 | 23.89
Clamping Fork for Ø1.25" | CF125 | 10.36
| SUBTOTAL | 1124.99 |  |  | SUBTOTAL | 1749.9
Input Prisms
Kinematic prism mount | KM100PM | 94.04
optics platform
10 mm Polarizing beam splitter | PBS102 | 237.69
50-50 beam splitter | BS011 | 219.89
Right-Angle Prism Mirror, Protected Gold | MRA10-M01 | 81.35
Ø1 Pillar Post | RS075 | 23.89
| SUBTOTAL | 656.86
Output Prisms
Kinematic prism mount | KM100PM | 94.04
optics platform
10 mm Polarizing beam splitter | PBS102 | 237.69
Right-Angle Prism Mirror, Protected Gold | MRA10-M01 | 162.7 | 2X
Ø1 Pillar Post | RS075 | 23.89
| SUBTOTAL | 518.32
Folding Mirrors
Ø1/2" Protected Gold Mirror | PF05-03-M01 | 158.96 | 4X
Ø1/2" Precision Kinematic Mirror Mount | KS05 | 360.16 | 4X
Ø1.25" Studded Pedestal Base Adapter | BE1 | 46.36 | 4X
Ø1" Pillar Post | RS1 | 100.92 | 4X
Clamping Fork for Ø1.25" | CF125 | 41.44 | 4X
Adapter with Internal 8-32 Threads | AE8E25E | 21.28 | 4X
| SUBTOTAL | 729.12
Balanced Detector
Free-Space Balanced Photodetector, Si | PDB210A | 1253.95
SM05 Lens Tube, 0.50" | SM05L05 | 32.64 | 2X
Ø1.25" Studded Pedestal Base Adapter | BE1 | 11.59
Ø1 Pillar Post | RS075 | 23.89
Ø25.0 mm Post Spacer | RS5M | 9.6
Clamping Fork for Ø1.25" | CF125 | 10.36
| SUBTOTAL | 1342.03
| TOTAL | 5089.65 |  |  | TOTAL | 1940.98
| Packaged Price | 5270.32
| Difference | -180.67 | optics platforms
| Grand Total | 7211.3

## SKDAV
Thorlabs SKDAV Kit
Description | Part | Price | Notes | Needed Add-on | Part | Price
Fiber Input
fiber collimator | F220FC-780 | 193.67 | FC/PC connector | PM patch cable from laser | P1-780PM-FC-1 | 191.08
SM1-Threaded Adapter | AD11F | 36.22
Cage Plate | CP33 | 20.43
Cage Assembly Rod, 1.5" Long | ER2-P4 | 26.82
Cage Rotation Mount | CRM1T | 102.65 | CRM1T supersedes CRM1
SM1 Lens Tube Mount | SM05PM5 | 61.34
Unmounted Glan-Laser Polarizer | GL5-B | 836.37
SM1 Retaining Ring | SM1RR | 5.21
Adapter with External SM1 Threads | SM1A6 | 24.42
Ø1 Pillar Post | RS075 | 23.89
Ø25.0 mm Post Spacer | RS5M | 9.6
| SUBTOTAL | 1340.62 |  |  | SUBTOTAL | 191.08
Vapor Cell
Heater Assembly | GCH25-75 | 1079.15 | 2x heaters/sensors | Rubidium Borosilicate Reference Cell | GC25075-RB | 615.39 | 2.7x3 in
Permanent magnets |  |  |  | Heater and TEC Temperature Controller | TC300B | 1134.51 | 2x channels
Ø1.25" Studded Pedestal Base Adapter | BE1 | 11.59
Ø1 Pillar Post | RS075 | 23.89
Cage Assembly Rod, 1/2" Long | ER05-P4 | 5.99
Clamping Fork for Ø1.25" | CF125 | 10.36
| SUBTOTAL | 1130.98 |  |  | SUBTOTAL | 1749.9
Output Prism
Wollaston Prism, 20° Beam Separation | WP10-B | 727.04 | Wollaston Prisms split unpolarized incident light into two orthogonally polarized outputs
SM1 Lens Tube, 1.00" | SMA1L10 | 16.49
SM1 Retaining Ring | SM1RR | 5.21
Cage Assembly Rod, 1.5" Long | ER2-P4 | 26.82
Zero-Order Quarter-Wave | WPQ05M-780 | 542.76
30 mm Cage Rotation Mount | CRM1PT | 256.76
Cage Rotation Mount | CRM1T | 102.65 | CRM1T supersedes CRM1
30 mm Cage Mounting Bracket | CP33B | 17.55
Ø1.25" Studded Pedestal Base Adapter | BE1 | 11.59
Ø1 Pillar Post | RS075 | 23.89
Clamping Fork for Ø1.25" | CF125 | 10.36
| SUBTOTAL | 1741.12
Square Gold Folding Mirror (OPTIONAL)
Compact Kinematic Mirror Mount | KMS | 47.03
1" x 1" Protected Gold Mirror | PFSQ10-03-M01 | 70.1
5-Minute Epoxy | G14250 | 11.05
Ø1.25" Studded Pedestal Base Adapter | BE1 | 11.59
Ø1" Pillar Post | RS1 | 25.23
Clamping Fork for Ø1.25" | CF125 | 10.36
| SUBTOTAL | 175.36
Folding Mirrors
Ø1/2" Protected Gold Mirror | PF05-03-M01 | 79.48 | 2X
Ø1/2" Precision Kinematic Mirror Mount | KS05 | 180.08 | 2X
Ø1.25" Studded Pedestal Base Adapter | BE1 | 23.18 | 2X
Ø1" Pillar Post | RS1 | 50.46 | 2X
Clamping Fork for Ø1.25" | CF125 | 20.72 | 2X
Adapter with Internal 8-32 Threads | AE8E25E | 10.64 | 2X
| SUBTOTAL | 364.56
Balanced Detector
Free-Space Balanced Photodetector, Si | PDB210A | 1253.95
SM05 Lens Tube, 0.50" | SM05L05 | 32.64 | 2X
Ø1.25" Studded Pedestal Base Adapter | BE1 | 11.59
Ø1 Pillar Post | RS075 | 23.89
Ø25.0 mm Post Spacer | RS5M | 9.6
Clamping Fork for Ø1.25" | CF125 | 10.36
| SUBTOTAL | 1342.03
| TOTAL | 6094.67 |  |  | TOTAL | 1940.98
| Packaged Price | 6200.84
| Difference | -106.17 | Permanent Magnet Plates
| Grand Total | 8141.82

## Sheet5
|  |  |  | TAX | 6% | Md sales tax
System & Parts | Vendor | Model | Price | QTY | Total | Notes
Aluminum Breadboard, 18 x 24" x 1/2", 1/4"-20 Taps | Thorlabs | MB1824 | 459.34 | 1 | 486.9004
|  |  | SUBTOTAL |  | 486.9004
Laser | Eblana Photonics | EP780-2-DM-DX1-FM | 6210 | 1 | 6582.6 | 780 nm laser FC/APC connector, 50x72.5 mm | 2x2.85 in
Digital Variable Optical Attenuator | Thorlabs | DV800PA | 1926 | 1 | 2041.56 | FC/APC narrow key, 30 dB max (0.001x)
1x2 PM Fiber splitter 50-50 780nm | Thorlabs | PN780R5A1 | 681.29 | 1 | 722.1674 | 50:50 Split, ≥18 dB PER, FC/APC
|  |  | SUBTOTAL |  | 9346.3274
780 nm In-line Polarizer, PM-PM | WDMQuest | Z5201-P | 527
Free-Space Collimation & Polarization
fiber collimator | Thorlabs | F220APC-780 | 262.43 | 1 | 278.1758 | f = 11.07 mm, NA = 0.26 FC/APC Fiber Collimation
SM1-Threaded Adapter | Thorlabs | AD11F | 36.22 | 1 | 38.3932
Cage Plate | Thorlabs | CP33 | 20.43 | 1 | 21.6558
Cage Assembly Rod, 1.5" Long | Thorlabs | ER2-P4 | 26.82 | 1 | 28.4292
Cage Rotation Mount | Thorlabs | CRM1T | 102.65 | 1 | 108.809 | CRM1T supersedes CRM1, 0.6” rod to centerline
30 mm Cage Mounting Bracket with 8-32 Captive Screw | Thorlabs | CP33C | 26.19 | 1 | 27.7614
SM1 Lens Tube Mount | Thorlabs | SM05PM5 | 61.34 | 1 | 65.0204
Unmounted Glan-Laser Polarizer | Thorlabs | GL5-B | 836.37 | 1 | 886.5522
SM1 Retaining Ring | Thorlabs | SM1RR | 5.21 | 1 | 5.5226
Adapter with External SM1 Threads | Thorlabs | SM1A6 | 24.42 | 1 | 25.8852
SM1-Threaded Manual Beam Shutter | Thorlabs | SM1SH1 | 71.82 | 1 | 76.1292
|  |  | SUBTOTAL |  | 1562.334
Probe Beam Sampler
90:10 (R:T) Non-Polarizing Beamsplitter Cube, 700 - 1100 nm, 1/2" | Thorlabs | BS074 | 227.52 | 1 | 241.1712
Platform Mount for 1/2" Beamsplitter | Thorlabs | BSH05 | 56.08 | 1 | 59.4448
|  |  | SUBTOTAL |  | 300.616
Vapor Cell
Heater Assembly | Thorlabs | GCH25-75 | 1079.15 | 1 | 1143.899
Rubidium Borosilicate Reference Cell | Thorlabs | GC25075-RB | 615.39 | 1 | 652.3134 | 2.7x3 in
Heater and TEC Temperature Controller | Thorlabs | TC300B | 1134.51 | 1 | 1202.5806 | 2x channels
30 mm Cage Mounting Bracket with 8-32 Captive Screw | Thorlabs | CP33C | 26.19 | 1 | 27.7614
Ø1.25" Studded Pedestal Base Adapter | Thorlabs | BE1 | 11.59 | 1 | 12.2854
Cage Assembly Rod, 1/2" Long | Thorlabs | ER05-P4 | 5.99 | 1 | 6.3494
|  |  | SUBTOTAL |  | 3045.1892
Electromagnet
Adjustable Power Supply with 2.1mm / 5.5mm DC - 3V to 12V at 5A | Adafruit | 4880 | 17.5 |  | 0
FNIRSI DPS-150 Plus DC Power Supply Variable | FNIRSI | DPS-150 Plus | 98.99 |  | 0 | connect 2x electromagnets in parallel
DC Power Supply Variable, 0-32V 0-10A Switching Bench Power Supply with 20W | Jesverty | SPS-3010V | 48.39 | 1 | 51.2934
Magnetic induction coil | Walmart | Raindrops | 4.02 |  | 0
Coil 550/600 Turns | Arbor Scientific | 98-6505 | 32.5 | 2 | 68.9
|  |  | SUBTOTAL |  | 120.1934
Faraday Split
1/2" Polarizing Beamsplitter Cube, 620 - 1000 nm |  | PBS122 | 242.77 | 1 | 257.3362
Platform Mount for 1/2" Beamsplitter | Thorlabs | BSH05 | 56.08 | 1 | 59.4448
|  |  | SUBTOTAL |  | 316.781
Reflect Light
25.4mm Dia. NIR, Precision Broadband Laser Mirror | Edmund Optics | 45-597 | 170.66 | 1 | 180.8996
Kinematic Mirror Mount for Ø1" Optics Post-Centered | Thorlabs | KM100CP | 89.61 | 1 | 94.9866
|  |  | SUBTOTAL |  | 275.8862
Polarization Control
Ø1/2" Zero-Order Half-Wave Plate, Ø1" Mount, 780 nm | Thorlabs | WPH05M-780 | 542.76 | 1 | 575.3256
Ø1/2" Zero-Order Quarter-Wave Plate, Ø1" Mount, 780 nm | Thorlabs | WPQ05M-780 | 542.76 | 1 | 575.3256
Rotation Mount for Ø1" (25.4 mm) Optics | Thorlabs | LRM1 | 109.65 | 2 | 232.458
|  |  | SUBTOTAL |  | 1383.1092
Power Meters
Power detector free space, 400 - 1100 nm, 1 nW - 20 mW | Thorlabs | S120C | 381.34 | 2 | 808.4408 | Faraday rotation
Power Meter Interface with USB, RS232, UART, Analog Out | Thorlabs | PM101 | 568.63 | 2 | 1205.4956
|  |  | SUBTOTAL |  | 2013.9364
Balanced PD
Free-Space Balanced Photodetector, Si | Thorlabs | PDB210A | 1253.95 | 1 | 1329.187
|  |  | SUBTOTAL |  | 1329.187
Frequency Shift
AOM 1.6 GHz | Brimrose | TEF-1500-100-780 | 7935 | 1 | 8411.1 | 190 x 100 x 220 mm (7.5x4x8.7”)
RF power | Brimrose | FF-1500-B2-F1 | 5463 | 1 | 5790.78
RF cable | Brimrose | RF-SMA-SMA-1M | 95 | 1 | 100.7
Best Form Lens, Ø1", f = 100.0 mm, AR Coating: 650 - 1050 nm | Thorlabs | LBF41100-B | 203.3 | 1 | 215.498 | For Galilean Telescope
Spacer, 2" x 3", 0.50" Thick | Thorlabs | BA2S6 | 34.96 | 1 | 37.0576
Spacer, 2" x 3", 0.15" Thick | Thorlabs | BA2S4/M | 28.11 | 2 | 59.5932
Lens Mount with Retaining Ring for Ø1" Optics, 8-32 Tap | Thorlabs | LMR1 | 17.62 | 1 | 18.6772 | For Galilean Telescope
Plano-Concave Lens, Ø1/2", f = -25.0 mm, AR Coating: 650-1050 nm | Thorlabs | LC1054-B | 36.64 | 1 | 38.8384 | For Galilean Telescope
Lens Mount with Retaining Ring for Ø1/2" Optics | Thorlabs | LMR05 | 18.18 | 1 | 19.2708 | For Galilean Telescope
25.4mm Dia. NIR, Precision Broadband Laser Mirror | Edmund Optics | 45-597 | 170.66 | 1 | 180.8996 | For cat’s eye
Kinematic Mirror Mount for Ø1" Optics Post-Centered | Thorlabs | KM100CP | 89.61 | 1 | 94.9866 | For cat’s eye
Best Form Lens, Ø1", f = 75.0 mm, AR Coating: 650 - 1050 nm | Thorlabs | LBF41075-B | 203.3 | 1 | 215.498 | For Cat’s eye
Lens Mount with Retaining Ring for Ø1" Optics, 8-32 Tap | Thorlabs | LMR1 | 17.62 | 1 | 18.6772 | For cat’s eye
Spherical concave mirror, effective focal length 76.2mm | Edmund Optics | 73-002 | 159 | 1 | 168.54 | Instead of cat’s eye
Lens Mount with Retaining Ring for Ø1" Optics, 8-32 Tap | Thorlabs | LMR1 | 17.62 | 1 | 18.6772
Mounted Zero-Aperture Iris, Ø12.0 mm Max Aperture, TR3 Post | Thorlabs | ID12Z | 82.43 | 1 | 87.3758 | beam block AOM
|  |  | SUBTOTAL |  | 15476.1696
Entangled Photon Ghost Spectroscopy
Fiber-coupled waveguide entangled photons Type-0 | Covesion | WGCO-1560 | 11354 | 1 | 12035.24
Temperature controller | Covesion | OC3 | 1514 | 1 | 1604.84
1550 nm type-II SPDC, 20mm, Packaged Device | Optilab | SPDC-1550-20-PG | 4252 | 0 | 0
Precision Temperature Controller | WDMQuest | PTC-5000-MC | 1208 | 0 | 0
45 deg Faraday rotator | Ozoptcs | FOR-11P-780-5/125-P-P-40-SCA-3-1 | 500 | 1 | 530
Fast Compensated Half-Wave LC Retarder, Ø10.0 mm CA, ARC: 650 - 1050 nm | Thorlabs | LCC1611-B | 1328.53 | 0 | 0
K-Cube Liquid Crystal Controller | Thorlabs | KLC101 | 939.7 | 0 | 0
±15 V/5 V Power Supply Unit | Thorlabs | TPS002 | 137.27 | 0 | 0
Achromatic FiberPort, FC/APC, f = 15.0 mm, 650 - 1050 nm (2x) | Thorlabs | PAF2A-A15B | 735.45 | 0 | 0 | Need 2
FiberPort adaptor 30 mm cage (2x) | Thorlabs | CP08FP | 36.56 | 0 | 0 | Need 2
30mm cage plate 1” diameter lens holder | Thorlabs | CP8T | 24.26 | 0 | 0
Cage Assembly Rod, 1" Long, Ø6 mm, 4 Pack | Thorlabs | ER1-P4 | 22.21 | 0 | 0
Cage Assembly Rod, 1.5" Long, Ø6 mm, 4 Pack | Thorlabs | ER1.5-4 | 25.71 | 0 | 0
1x2 780 nm/1560 nm SM Filter WDM (1550 +/- 40 nm) | WDMQuest | W9900-S | 195 | 1 | 206.7 | PBS @ 1550 nm for Sagnac (780 nm loss minimal)
1x2 Polarizing beam splitter 1550 nm (common SMF) | Photonik | PBS/C-55-P-2131-2231-2231-Q
In-Line Micro Prism1550 ± 40 nm, 1 SM and 2 PM Ports, FC/APC | Thorlabs | PBC1550SM-APC | 774.09 | 0 | 0 | PBS @ 1550 nm for Sagnac (780 nm loss minimal)
Electrically Controlled 1x2 Compact Fiber Switch-1550 nm | WDMQuest | Q1000-S | 160 | 1 | 169.6
2x2 PM Coupler, 780 ± 15 nm, 50:50 Split, ≥18 dB PER, FC/APC | Thorlabs | PN780R5A2 | 681.29 | 0 | 0
Acetylene CO reference cell pigtailed FC/APC | Wavelength References | C2H2-12-H(3)-200-FCAPC | 1250 | 1 | 1325
Digital Tunable Bandpass Filter, 1527 - 1567 nm | Thorlabs | TOF1550 | 5136 | 1 | 5444.16 | About 0.5 nm isolation
APD Geiger mode |  |  | 20000 | 2 | 42400
Timetagger | quTools | QuTag-LC | 7000 | 1 | 7420
Optical channel performance monitor | Bayspec | OCPM-100-080-1510-FA | 5980 | 1 | 6338.8
|  |  | SUBTOTAL |  | 77474.34
Data Acquisition
Oscilloscope or Digitizer
4 CH Digitizer, 1.5 Gsa/s, 500 MHz BW, 16 Digital CH | PicoTechnology | PicoScope 3418E MSO | 5475 | 1 | 5803.5
PC Laptop |  |  | 800 | 1 | 848
USB Hub |  |  | 100 | 1 | 106
|  |  | SUBTOTAL |  | 6757.5
Accessories
Hall probe | Digikey | TP002 | 485 | 1 | 514.1
NIR Detector Card, 700 - 1400 nm | Thorlabs | VRC7 | 128.1 | 2 | 271.572
Laser safety goggles, OD > 5 780 nm, OD>1.5 for 1110 | Edmund Optics | 12-728 12-711 | 280 | 2 | 593.6 | one of each frame style
CMOS Camera | Thorlabs | CS165MU | 479.86 | 1 | 508.6516
|  |  | SUBTOTAL |  | 1887.9236
Posts and Spacers
Ø1" Double Pedestal Base Adapter, 8-32 and 1/4"-20, Length = 1" | Thorlabs | SBE2 | 31.57 | 24 | 803.1408
Compact Clamping Fork for Ø1" | Thorlabs | SCF1 | 29.43 | 24 | 748.6992
Ø25.0 mm Post Spacer, Thickness = 10 mm | Thorlabs | RS10M | 10.75 | 5 | 56.975
Ø25.0 mm Post Spacer, Thickness = 1 mm | Thorlabs | RS1M | 8.2 | 2 | 17.384
Ø25.0 mm Post Spacer, Thickness = 2 mm | Thorlabs | RS2M | 8.51 | 2 | 18.0412
Ø25.0 mm Post Spacer, Thickness = 5 mm | Thorlabs | RS5M | 9.6 | 2 | 20.352
Ø25.0 mm Post Spacer, Thickness = 7 mm | Thorlabs | RS7M | 10.11 | 1 | 10.7166
Ø25.0 mm Post Spacer, Thickness = 8 mm | Thorlabs | RS8M | 10.3 | 1 | 10.918
|  |  | SUBTOTAL |  | 1686.2268
|  |  | TOTAL |  | 123462.6202