## Large Components
Part	Vendor	Model	Price
Laser Diode	Thorlabs	L405P20	$58.21
Diode laser driver	Thorlabs	KLD101	$973.85
Laser Diode Kit (includes controllers)	Thorlabs	LTC56A	$3,132.86
Diode Mount and Temperature Controller	Thorlabs	LDM9T	$937.13
Power supply	Thorlabs	TPS002	$128.29
Single photon detector	Thorlabs	SPDMA	$4,915.89
CMOS camera	Thorlabs	CS165MU	$479.86
Spectrometer 350-1100 nm	Ocean Insights		$8,000.00
APD 900-1700 nm	Thorlabs	APD130C	$2,672.83
APD 900-1700 nm (fiber)	Thorlabs	APD431C	$2,930.41
780 nm, 45 mW, Butterfly DBR Laser	Thorlabs	DBR780PN	$6,231.60

LN cut crystal	Conex		$1,400.00

PPLN	Covesion	MSHG1064-.5-10	$3,600.00
PPLN oven	Covesion		$3,600.00

		TOTAL	$21,298.92

## Various Components
System	Part	Vendor	Model	Price	QTY	Shipping	Tax	Total
Laser	780 nm laser FC/APC connector	Eblana Photonics	EP780-2-DM-DX1-FM	$6,210.00	1	$100.00	10.00%	$6,941.00	50x72.5 mm	2x2.85 in
	Variable attenuator	Thorlabs	VOA780-APC	435.97	3		10.00%	$1,438.70
							10.00%	$0.00
Polarization Control	Fiber-based Polarization controller	Thorlabs	CPC900	489.15	1		10.00%	$538.07
		Oz Optics	HFPC-11-1300/1550-S-9/125-3A3A				10.00%	$0.00
							10.00%	$0.00
Entangled photon generation	Spontaneous Parametric Down Conversion (SPDC) waveguide	Covesion	WGCO-1560	$11,354.00	1		10.00%	$12,489.40
	Temperature controller	Covesion	OC3	$1,514.00	1		10.00%	$1,665.40
							10.00%	$0.00
							10.00%	$0.00
Bandpass filter	Fiber-based bandpass filter	Agiltron	FOTF-035121331	$902.00	1		10.00%	$992.20
	Wavelength Division Multiplexer C- and L- bands			$300.00	1		10.00%	$330.00
	Tunable Filters	Oz Optics		$300.00	2		10.00%	$660.00
							10.00%	$0.00
Vapor Cell system	Optics heater and magnets	Thorlabs	SKDAV	$5,795.00	1		10.00%	$6,374.50
	Vapor cell	Thorlabs	GC25075-RB	$575.00	1		10.00%	$632.50
	Temperature controller	Thorlabs	TC300B	$1,060.00	1		10.00%	$1,166.00
	Breadboard (2x3’, Aluminum, non-magnetic)	Thorlabs	PBG2436F	$1,161.91	1		10.00%	$1,278.10

	Acetylene C2H2 reference cell pigtailed	Wavelength References	C2H2-12-H(3)-200-FCAPC	$510.00	1

Detection	InGaAs APD pigtailed	Excelitas	C30733BQC-01		2
	APD 900-1700 nm (fiber)	Thorlabs	APD431C	$2,930.41	2		10.00%	$6,446.90
	CMOS Camera	Thorlabs	CS165MU	$479.86	1		10.00%	$527.85
	Spectrometer (Optical Spectrum Analyzer)	BaySpec	OCPM-050-160-1400-FA	$6,000.00	1		10.00%	$6,600.00
	Power detector fiber mounted, 400 - 1100 nm, 1 nW - 20 mW	Thorlabs	S151C	$406.28	1		10.00%	$446.91
	Power detector free space, 400 - 1100 nm, 1 nW - 20 mW	Thorlabs	S120C	$381.34	1
	Power detector fiber mounted, 800-1700 nm, 1 nW - 20 mW	Thorlabs	S155C	$586.84	1		10.00%	$645.52
	Power Meter Interface with USB, RS232, UART, Analog Out	Thorlabs	PM101	$568.63	2
	Power and Energy Meter	Thorlabs	PM100D	$1,359.32
	Free-Space Balanced Photodetector, Si	Thorlabs	PDB210A	$1,253.95					BW 1 MHz
	2 Ch meter	Thorlabs	PM5020	$3,781.70
	Time tagger	Swabian	TC20	$12,000.00	1		10.00%	$13,200.00
	Time tagger	QuTools	quTag LC	$7,100.00
	Time tagger	PicoQuant	Multiharp 150-4N	$11,000.00
	Oscilloscope	PicoScope	5444-D	$3,355.00					BW 200 MHz, 1 Gsa/s

Connection optics	Patch cables	Thorlabs	P1-780PM-FC-5	$264.00	2		10.00%	$580.80
							10.00%	$0.00

							TOTAL	$62,953.85

## SKSAS
Thorlabs SKDAV Kit

Description	Part	Price	Notes	Needed Add-on	Part	Price

Fiber Input
fiber collimator	F220FC-780	$193.67	FC/PC connector	PM patch cable from laser	P1-780PM-FC-1	$191.08
SM1-Threaded Adapter	AD11F	$36.22
Cage Plate	CP33	$20.43
Cage Assembly Rod, 1.5" Long	ER2-P4	$26.82
Cage Rotation Mount	CRM1T	$102.65	CRM1T supersedes CRM1
Half wave plate	WPMH05M-780	$305.05
Ø1 Pillar Post	RS075	$23.89
Ø25.0 mm Post Spacer	RS5M	$9.60
	SUBTOTAL	$718.33			SUBTOTAL	$191.08

Vapor Cell
Heater Assembly	GCH25-75	$1,079.15	2x heaters/sensors	Rubidium Borosilicate Reference Cell	GC25075-RB	$615.39
				Heater and TEC Temperature Controller	TC300B	$1,134.51	2x channels
Ø1.25" Studded Pedestal Base Adapter	BE1	$11.59
Ø1 Pillar Post	RS075	$23.89
Clamping Fork for Ø1.25"	CF125	$10.36
	SUBTOTAL	$1,124.99			SUBTOTAL	$1,749.90

Input Prisms
Kinematic prism mount	KM100PM	$94.04
optics platform
10 mm Polarizing beam splitter	PBS102	$237.69
50-50 beam splitter	BS011	$219.89
Right-Angle Prism Mirror, Protected Gold	MRA10-M01	$81.35
Ø1 Pillar Post	RS075	$23.89
	SUBTOTAL	$656.86

Output Prisms
Kinematic prism mount	KM100PM	$94.04
optics platform
10 mm Polarizing beam splitter	PBS102	$237.69
Right-Angle Prism Mirror, Protected Gold	MRA10-M01	$162.70	2X
Ø1 Pillar Post	RS075	$23.89
	SUBTOTAL	$518.32

Folding Mirrors
Ø1/2" Protected Gold Mirror	PF05-03-M01	$158.96	4X
Ø1/2" Precision Kinematic Mirror Mount	KS05	$360.16	4X
Ø1.25" Studded Pedestal Base Adapter	BE1	$46.36	4X
Ø1" Pillar Post	RS1	$100.92	4X
Clamping Fork for Ø1.25"	CF125	$41.44	4X
Adapter with Internal 8-32 Threads	AE8E25E	$21.28	4X
	SUBTOTAL	$729.12

Balanced Detector
Free-Space Balanced Photodetector, Si	PDB210A	$1,253.95
SM05 Lens Tube, 0.50"	SM05L05	$32.64	2X
Ø1.25" Studded Pedestal Base Adapter	BE1	$11.59
Ø1 Pillar Post	RS075	$23.89
Ø25.0 mm Post Spacer	RS5M	$9.60
Clamping Fork for Ø1.25"	CF125	$10.36
	SUBTOTAL	$1,342.03

	TOTAL	$5,089.65			TOTAL	$1,940.98

	Packaged Price	$5,270.32
	Difference	-$180.67	optics platforms

	Grand Total	$7,211.30

## SKDAV
Thorlabs SKDAV Kit

Description	Part	Price	Notes	Needed Add-on	Part	Price

Fiber Input
fiber collimator	F220FC-780	$193.67	FC/PC connector	PM patch cable from laser	P1-780PM-FC-1	$191.08
SM1-Threaded Adapter	AD11F	$36.22
Cage Plate	CP33	$20.43
Cage Assembly Rod, 1.5" Long	ER2-P4	$26.82
Cage Rotation Mount	CRM1T	$102.65	CRM1T supersedes CRM1
SM1 Lens Tube Mount	SM05PM5	$61.34
Unmounted Glan-Laser Polarizer	GL5-B	$836.37
SM1 Retaining Ring	SM1RR	$5.21
Adapter with External SM1 Threads	SM1A6	$24.42
Ø1 Pillar Post	RS075	$23.89
Ø25.0 mm Post Spacer	RS5M	$9.60
	SUBTOTAL	$1,340.62			SUBTOTAL	$191.08

Vapor Cell
Heater Assembly	GCH25-75	$1,079.15	2x heaters/sensors	Rubidium Borosilicate Reference Cell	GC25075-RB	$615.39	2.7x3 in
Permanent magnets				Heater and TEC Temperature Controller	TC300B	$1,134.51	2x channels
Ø1.25" Studded Pedestal Base Adapter	BE1	$11.59
Ø1 Pillar Post	RS075	$23.89
Cage Assembly Rod, 1/2" Long	ER05-P4	$5.99
Clamping Fork for Ø1.25"	CF125	$10.36
	SUBTOTAL	$1,130.98			SUBTOTAL	$1,749.90
Output Prism
Wollaston Prism, 20° Beam Separation	WP10-B	$727.04	Wollaston Prisms split unpolarized incident light into two orthogonally polarized outputs
SM1 Lens Tube, 1.00"	SMA1L10	$16.49
SM1 Retaining Ring	SM1RR	$5.21
Cage Assembly Rod, 1.5" Long	ER2-P4	$26.82
Zero-Order Quarter-Wave	WPQ05M-780	$542.76
30 mm Cage Rotation Mount	CRM1PT	$256.76
Cage Rotation Mount	CRM1T	$102.65	CRM1T supersedes CRM1
30 mm Cage Mounting Bracket	CP33B	$17.55
Ø1.25" Studded Pedestal Base Adapter	BE1	$11.59
Ø1 Pillar Post	RS075	$23.89
Clamping Fork for Ø1.25"	CF125	$10.36
	SUBTOTAL	$1,741.12

Square Gold Folding Mirror (OPTIONAL)
Compact Kinematic Mirror Mount	KMS	$47.03
1" x 1" Protected Gold Mirror	PFSQ10-03-M01	$70.10
5-Minute Epoxy	G14250	$11.05
Ø1.25" Studded Pedestal Base Adapter	BE1	$11.59
Ø1" Pillar Post	RS1	$25.23
Clamping Fork for Ø1.25"	CF125	$10.36
	SUBTOTAL	$175.36

Folding Mirrors
Ø1/2" Protected Gold Mirror	PF05-03-M01	$79.48	2X
Ø1/2" Precision Kinematic Mirror Mount	KS05	$180.08	2X
Ø1.25" Studded Pedestal Base Adapter	BE1	$23.18	2X
Ø1" Pillar Post	RS1	$50.46	2X
Clamping Fork for Ø1.25"	CF125	$20.72	2X
Adapter with Internal 8-32 Threads	AE8E25E	$10.64	2X
	SUBTOTAL	$364.56

Balanced Detector
Free-Space Balanced Photodetector, Si	PDB210A	$1,253.95
SM05 Lens Tube, 0.50"	SM05L05	$32.64	2X
Ø1.25" Studded Pedestal Base Adapter	BE1	$11.59
Ø1 Pillar Post	RS075	$23.89
Ø25.0 mm Post Spacer	RS5M	$9.60
Clamping Fork for Ø1.25"	CF125	$10.36
	SUBTOTAL	$1,342.03

	TOTAL	$6,094.67			TOTAL	$1,940.98

	Packaged Price	$6,200.84
	Difference	-$106.17	Permanent Magnet Plates

	Grand Total	$8,141.82

## Sheet5
				TAX	6.00%	Md sales tax

System & Parts	Vendor	Model	Price	QTY	Total	Notes

Aluminum Breadboard, 18 x 24" x 1/2", 1/4"-20 Taps	Thorlabs	MB1824	$459.34	1	$486.90
			SUBTOTAL		$486.90

Laser	Eblana Photonics	EP780-2-DM-DX1-FM	$6,210.00	1	$6,582.60	780 nm laser FC/APC connector, 50x72.5 mm	2x2.85 in
Digital Variable Optical Attenuator	Thorlabs	DV800PA	$1,926.00	1	$2,041.56	FC/APC narrow key, 30 dB max (0.001x)
1x2 PM Fiber splitter 50-50 780nm	Thorlabs	PN780R5A1	$681.29	1	$722.17	50:50 Split, ≥18 dB PER, FC/APC
			SUBTOTAL		$9,346.33
780 nm In-line Polarizer, PM-PM	WDMQuest	Z5201-P	$527.00

Free-Space Collimation & Polarization
fiber collimator	Thorlabs	F220APC-780	$262.43	1	$278.18	f = 11.07 mm, NA = 0.26 FC/APC Fiber Collimation
SM1-Threaded Adapter	Thorlabs	AD11F	$36.22	1	$38.39
Cage Plate	Thorlabs	CP33	$20.43	1	$21.66
Cage Assembly Rod, 1.5" Long	Thorlabs	ER2-P4	$26.82	1	$28.43
Cage Rotation Mount	Thorlabs	CRM1T	$102.65	1	$108.81	CRM1T supersedes CRM1, 0.6” rod to centerline
30 mm Cage Mounting Bracket with 8-32 Captive Screw	Thorlabs	CP33C	$26.19	1	$27.76
SM1 Lens Tube Mount	Thorlabs	SM05PM5	$61.34	1	$65.02
Unmounted Glan-Laser Polarizer	Thorlabs	GL5-B	$836.37	1	$886.55
SM1 Retaining Ring	Thorlabs	SM1RR	$5.21	1	$5.52
Adapter with External SM1 Threads	Thorlabs	SM1A6	$24.42	1	$25.89
SM1-Threaded Manual Beam Shutter	Thorlabs	SM1SH1	$71.82	1	$76.13
			SUBTOTAL		$1,562.33
Probe Beam Sampler
90:10 (R:T) Non-Polarizing Beamsplitter Cube, 700 - 1100 nm, 1/2"	Thorlabs	BS074	$227.52	1	$241.17
Platform Mount for 1/2" Beamsplitter	Thorlabs	BSH05	$56.08	1	$59.44
			SUBTOTAL		$300.62

Vapor Cell
Heater Assembly	Thorlabs	GCH25-75	$1,079.15	1	$1,143.90
Rubidium Borosilicate Reference Cell	Thorlabs	GC25075-RB	$615.39	1	$652.31	2.7x3 in
Heater and TEC Temperature Controller	Thorlabs	TC300B	$1,134.51	1	$1,202.58	2x channels
30 mm Cage Mounting Bracket with 8-32 Captive Screw	Thorlabs	CP33C	$26.19	1	$27.76
Ø1.25" Studded Pedestal Base Adapter	Thorlabs	BE1	$11.59	1	$12.29
Cage Assembly Rod, 1/2" Long	Thorlabs	ER05-P4	$5.99	1	$6.35
			SUBTOTAL		$3,045.19

Electromagnet
Adjustable Power Supply with 2.1mm / 5.5mm DC - 3V to 12V at 5A	Adafruit	4880	$17.50		$0.00
FNIRSI DPS-150 Plus DC Power Supply Variable	FNIRSI	DPS-150 Plus	$98.99		$0.00	connect 2x electromagnets in parallel
DC Power Supply Variable, 0-32V 0-10A Switching Bench Power Supply with 20W	Jesverty	SPS-3010V	$48.39	1	$51.29
Magnetic induction coil	Walmart	Raindrops	$4.02		$0.00
Coil 550/600 Turns	Arbor Scientific	98-6505	$32.50	2	$68.90
			SUBTOTAL		$120.19

Faraday Split
1/2" Polarizing Beamsplitter Cube, 620 - 1000 nm		PBS122	$242.77	1	$257.34
Platform Mount for 1/2" Beamsplitter	Thorlabs	BSH05	$56.08	1	$59.44
			SUBTOTAL		$316.78
Reflect Light
25.4mm Dia. NIR, Precision Broadband Laser Mirror	Edmund Optics	45-597	$170.66	1	$180.90
Kinematic Mirror Mount for Ø1" Optics Post-Centered	Thorlabs	KM100CP	$89.61	1	$94.99
			SUBTOTAL		$275.89
Polarization Control
Ø1/2" Zero-Order Half-Wave Plate, Ø1" Mount, 780 nm	Thorlabs	WPH05M-780	$542.76	1	$575.33
Ø1/2" Zero-Order Quarter-Wave Plate, Ø1" Mount, 780 nm	Thorlabs	WPQ05M-780	$542.76	1	$575.33
Rotation Mount for Ø1" (25.4 mm) Optics	Thorlabs	LRM1	$109.65	2	$232.46
			SUBTOTAL		$1,383.11

Power Meters
Power detector free space, 400 - 1100 nm, 1 nW - 20 mW	Thorlabs	S120C	$381.34	2	$808.44	Faraday rotation
Power Meter Interface with USB, RS232, UART, Analog Out	Thorlabs	PM101	$568.63	2	$1,205.50
			SUBTOTAL		$2,013.94
Balanced PD
Free-Space Balanced Photodetector, Si	Thorlabs	PDB210A	$1,253.95	1	$1,329.19

			SUBTOTAL		$1,329.19

Frequency Shift
AOM 1.6 GHz	Brimrose	TEF-1500-100-780	$7,935.00	1	$8,411.10	190 x 100 x 220 mm (7.5x4x8.7”)
RF power	Brimrose	FF-1500-B2-F1	$5,463.00	1	$5,790.78
RF cable	Brimrose	RF-SMA-SMA-1M	$95.00	1	$100.70
Best Form Lens, Ø1", f = 100.0 mm, AR Coating: 650 - 1050 nm	Thorlabs	LBF41100-B	$203.30	1	$215.50	For Galilean Telescope
Spacer, 2" x 3", 0.50" Thick	Thorlabs	BA2S6	$34.96	1	$37.06
Spacer, 2" x 3", 0.15" Thick	Thorlabs	BA2S4/M	$28.11	2	$59.59
Lens Mount with Retaining Ring for Ø1" Optics, 8-32 Tap	Thorlabs	LMR1	$17.62	1	$18.68	For Galilean Telescope
Plano-Concave Lens, Ø1/2", f = -25.0 mm, AR Coating: 650-1050 nm	Thorlabs	LC1054-B	$36.64	1	$38.84	For Galilean Telescope
Lens Mount with Retaining Ring for Ø1/2" Optics	Thorlabs	LMR05	$18.18	1	$19.27	For Galilean Telescope

25.4mm Dia. NIR, Precision Broadband Laser Mirror	Edmund Optics	45-597	$170.66	1	$180.90	For cat’s eye
Kinematic Mirror Mount for Ø1" Optics Post-Centered	Thorlabs	KM100CP	$89.61	1	$94.99	For cat’s eye
Best Form Lens, Ø1", f = 75.0 mm, AR Coating: 650 - 1050 nm	Thorlabs	LBF41075-B	$203.30	1	$215.50	For Cat’s eye
Lens Mount with Retaining Ring for Ø1" Optics, 8-32 Tap	Thorlabs	LMR1	$17.62	1	$18.68	For cat’s eye

Spherical concave mirror, effective focal length 76.2mm	Edmund Optics	73-002	$159.00	1	$168.54	Instead of cat’s eye
Lens Mount with Retaining Ring for Ø1" Optics, 8-32 Tap	Thorlabs	LMR1	$17.62	1	$18.68
Mounted Zero-Aperture Iris, Ø12.0 mm Max Aperture, TR3 Post	Thorlabs	ID12Z	$82.43	1	$87.38	beam block AOM
			SUBTOTAL		$15,476.17

Entangled Photon Ghost Spectroscopy
Fiber-coupled waveguide entangled photons Type-0	Covesion	WGCO-1560	$11,354.00	1	$12,035.24
Temperature controller	Covesion	OC3	$1,514.00	1	$1,604.84

1550 nm type-II SPDC, 20mm, Packaged Device	Optilab	SPDC-1550-20-PG	$4,252.00	0	$0.00
Precision Temperature Controller	WDMQuest	PTC-5000-MC	$1,208.00	0	$0.00

45 deg Faraday rotator	Ozoptcs	FOR-11P-780-5/125-P-P-40-SCA-3-1	$500.00	1	$530.00

Fast Compensated Half-Wave LC Retarder, Ø10.0 mm CA, ARC: 650 - 1050 nm	Thorlabs	LCC1611-B	$1,328.53	0	$0.00
K-Cube Liquid Crystal Controller	Thorlabs	KLC101	$939.70	0	$0.00
±15 V/5 V Power Supply Unit	Thorlabs	TPS002	$137.27	0	$0.00
Achromatic FiberPort, FC/APC, f = 15.0 mm, 650 - 1050 nm (2x)	Thorlabs	PAF2A-A15B	$735.45	0	$0.00	Need 2
FiberPort adaptor 30 mm cage (2x)	Thorlabs	CP08FP	$36.56	0	$0.00	Need 2
30mm cage plate 1” diameter lens holder	Thorlabs	CP8T	$24.26	0	$0.00
Cage Assembly Rod, 1" Long, Ø6 mm, 4 Pack	Thorlabs	ER1-P4	$22.21	0	$0.00
Cage Assembly Rod, 1.5" Long, Ø6 mm, 4 Pack	Thorlabs	ER1.5-4	$25.71	0	$0.00

1x2 780 nm/1560 nm SM Filter WDM (1550 +/- 40 nm)	WDMQuest	W9900-S	$195.00	1	$206.70	PBS @ 1550 nm for Sagnac (780 nm loss minimal)
1x2 Polarizing beam splitter 1550 nm (common SMF)	Photonik	PBS/C-55-P-2131-2231-2231-Q
In-Line Micro Prism1550 ± 40 nm, 1 SM and 2 PM Ports, FC/APC	Thorlabs	PBC1550SM-APC	$774.09	0	$0.00	PBS @ 1550 nm for Sagnac (780 nm loss minimal)

Electrically Controlled 1x2 Compact Fiber Switch-1550 nm	WDMQuest	Q1000-S	$160.00	1	$169.60

2x2 PM Coupler, 780 ± 15 nm, 50:50 Split, ≥18 dB PER, FC/APC	Thorlabs	PN780R5A2	$681.29	0	$0.00
Acetylene CO reference cell pigtailed FC/APC	Wavelength References	C2H2-12-H(3)-200-FCAPC	$1,250.00	1	$1,325.00
Digital Tunable Bandpass Filter, 1527 - 1567 nm	Thorlabs	TOF1550	$5,136.00	1	$5,444.16	About 0.5 nm isolation
APD Geiger mode			$20,000.00	2	$42,400.00
Timetagger	quTools	QuTag-LC	$7,000.00	1	$7,420.00
Optical channel performance monitor	Bayspec	OCPM-100-080-1510-FA	$5,980.00	1	$6,338.80
			SUBTOTAL		$77,474.34

Data Acquisition
Oscilloscope or Digitizer
4 CH Digitizer, 1.5 Gsa/s, 500 MHz BW, 16 Digital CH	PicoTechnology	PicoScope 3418E MSO	$5,475.00	1	$5,803.50
PC Laptop			$800.00	1	$848.00
USB Hub			$100.00	1	$106.00
			SUBTOTAL		$6,757.50

Accessories
Hall probe	Digikey	TP002	$485.00	1	$514.10
NIR Detector Card, 700 - 1400 nm	Thorlabs	VRC7	$128.10	2	$271.57
Laser safety goggles, OD > 5 780 nm, OD>1.5 for 1110	Edmund Optics	12-728 12-711	$280.00	2	$593.60	one of each frame style
CMOS Camera	Thorlabs	CS165MU	$479.86	1	$508.65
			SUBTOTAL		$1,887.92
Posts and Spacers
Ø1" Double Pedestal Base Adapter, 8-32 and 1/4"-20, Length = 1"	Thorlabs	SBE2	$31.57	24	$803.14
Compact Clamping Fork for Ø1"	Thorlabs	SCF1	$29.43	24	$748.70
Ø25.0 mm Post Spacer, Thickness = 10 mm	Thorlabs	RS10M	$10.75	5	$56.98
Ø25.0 mm Post Spacer, Thickness = 1 mm	Thorlabs	RS1M	$8.20	2	$17.38
Ø25.0 mm Post Spacer, Thickness = 2 mm	Thorlabs	RS2M	$8.51	2	$18.04
Ø25.0 mm Post Spacer, Thickness = 5 mm	Thorlabs	RS5M	$9.60	2	$20.35
Ø25.0 mm Post Spacer, Thickness = 7 mm	Thorlabs	RS7M	$10.11	1	$10.72
Ø25.0 mm Post Spacer, Thickness = 8 mm	Thorlabs	RS8M	$10.30	1	$10.92
			SUBTOTAL		$1,686.23

			TOTAL		$123,462.62